## Slide 1
Surface Commissioning of the DMTPC 4-Shooter Directional Dark Matter Detector
Shawn Henderson
on behalf of the
DMTPC Collaboration
February 19, 2013
Research Techniques Seminar

## Slide 2
Surface Commissioning of the DMTPC 4-Shooter Directional Dark Matter Detector
Shawn Henderson
on behalf of the
DMTPC Collaboration
February 19, 2013
Research Techniques Seminar

## Slide 3
Outline
Introduction
Directional Sensitivity Measurements
Future plans
Surface Commissioning of the DMTPC 4-Shooter Directional Dark Matter Detector
Directional detection
The DMTPC collaboration
The 4-shooter detector
High gain 252Cf neutron study
Low gain & pressure AmBe neutron study
Directionality with alpha tails
Future WIPP deployment

## Slide 4
Surface Commissioning of the DMTPC 4-Shooter Directional Dark Matter Detector
Outline
Introduction
  Directional detection
  The DMTPC collaboration
  The 4-shooter detector
Directional Sensitivity Measurements
Future plans

## Slide 5
Solar motion results in an
apparent dark matter wind
The WIMP wind

## Slide 6
WIMP direction is imprinted on nuclear recoil
direction
WIMP flux in the case of an isothermal spherical halo
WIMP-induced recoil distribution
19F target
100 GeV/c2 WIMP
5 keV<ER<50 keV
Cygnus
Cygnus
The Case for a Dark Matter Detector and the Status of Current Experimental Efforts,
Ahlen, S. et al., Int. J. Mod. Phys. A. 25, 1, 2010
Billard, J. et al., 2010, Phys. Lett. B, 691, 156-162

## Slide 7
Numbers assume a 100 GeV mass WIMP and a 20 keVr nuclear recoil detection threshold.
A. Green and B. Morgan,
Astropart. Phys. 27: 142-149, 2007
1/12
1/2
1/30
full 3D vector
axial 3D vector
full 2D vector
“Head-Tail”
axial 2D
vector
Hierarchy of directional sensitivity
stretch goal
Goal: do this as well as we can
sensitivity
sensitivity
sensitivity
Billard, J. et al., 2010, Phys. Lett. B, 691, 156-162
Detection
possible even with
nonzero background
CF4 gas mass density is
3.72 g/l
At 1/10 of atm,
0.372 g/l
Si mass density is
2.3290 g·cm−3

## Slide 8
The DMTPC Collaboration
http://dmtpc.mit.edu
H. Choi, C. Deaconu, P. Fisher (PI), S. Henderson, W. Koch, J.P. Lopez, H. Tomita
Massachusetts Institute of Technology
A. Dushkin, H. Wellenstein (PI)
Brandeis University
R. Eggleston, P. Giampa, J. Monroe (PI),
G. Muraru
University of London Royal Holloway
I. Jaegle, S. Ross, S. Vahsen (PI)
University of Hawaii
J. Battat (PI), V. Gregoric, K. Hartung,
K. Recine, E. de Souza
Bryn Mawr College
undergraduate graduate student post-doc professor
Papers:
Dujmic et al. NIMA 584 (2007)
Kaboth et al. NIMA 592 (2008)
Dujmic et al.
Astropart.Phys.30:58-64 (2008)
Caldwell et al.
arXiv:0905.2549 (2008)
Roccaro et al. NIMA 608 (2009)
Ahlen et al. IEEE Trans. Nucl. Sci. (2009)
Ahlen et al., Phys.Lett. B695 (2011)
J. Lopez et al. NIM A 696 (2012)

## Slide 9
DMTPC
T
The “10L”
2x 5L TPCs, CF4
Underground @ WIPP taking data
Dark Matter Time Projection Chamber
The “4-Shooter”
18L TPC
4x CCD
Sea-level @ MIT
taking initial suite
of calibration
data
R&D Vessel/DCTPC
6L TPC, He+CF4 mix
@ Double Chooz
measuring
cosmogenic
neutrons
arXiv:1108.4894
Raytheon
50L TPC, pure CF4 and He+CF4 mix
@ MIT; focused on neutron detection
50 cm drift length
S. Ahlen et al., Phys. Lett. B695
(2011) 124-129

## Slide 10
3x
x4
CF4
@ 75 Torr
3x
4x
GND
Anode
Veto
Mesh
Sensors
outside
of active
volume

## Slide 11
The “4-Shooter”
45-75 Torr CF4
18L, 6.6 gm
-5 kV drift
650V-720V anode
Spin-dependent
WIMP Search on 19F
large spin-dependent-p
coupling
4x CCDs
TPC
PMTs

## Slide 12
29 cm
Minimal materials – much lower backgrounds
Environmental α rate 19x smaller
Careful cleaning and materials selection

## Slide 13
29.2 cm
430 μm
e-
γ
1”
SS Mesh
Cu
fused silica spacers
G-10
Cathode mesh 80% transparent
not to scale
Amplification Stage
Home-brew
Small # of materials
Assembled in cleanroom

## Slide 14
Alazar ATS860 - 8 Bit, 250 MS/s PCI Digitizer

## Slide 16
CCD
CCD
PMT

## Slide 17
LED
Alta U6 CCDs
1024x1024, 24μm pixels
1”x1”, 1.05 Mpixel chip
Binned 4x4 in hardware
Shutter-less operation
Canon telephoto lenses
FD 85mm f/1.2
CCD Readout
Must stitch 4 camera images
into 1 composite image

## Slide 18
CCD Spatial Gain Correction
CCD optical flat field
showing radial fall-off
CCD gain(X,Y) measured using a 57Co γ
source to generate spatially uniform signal
57Co
122 keV γ’s
λ=4.2 m

## Slide 19
241Am α source calibration; α’s in all 4 cameras
CCD Energy Calibration
Crystal ball fit to 1 CCD’s
241Am α energy spectrum
241Am α energy vs range
data-MC agreement
CCD B
CCD D
ADU
σE=5.4%
3.8 MeVα
Projected distance from start of track (mm)
α direction

## Slide 20
CCD System Gain
CCD RMS noise VS exposure
CCD noise/gain, a rough
estimate of N/S in energy
CCD gain from 241Am α
calibrations at 720V on the anode is
23, 34, 38 & 39 ADU/keV
Read noise for 1 sec exposures
binned 4x4 in hardware is
9, 11, 12 & 13 ADU
operating
point
CCD System Noise (ADU)
Noise equivalent energy (keVee/bin)

## Slide 21
The benefits of material selection
Mostly;
OFHC Cu, Acetal,
SS and G-10
Some;
DP460EG epoxy, kodial glass,
fused silica, kapton, resistors
Careful cleaning of
all parts
We see the whole field cage!
4sh α rate 11 mHz
10L α rate 210 mHz
19x
improvement
10L
data

## Slide 22
CCD
CCD
PMT

## Slide 23
Anode charge readout (Gain)
operating
point
CREMAT
CR-113
1.5 mV/pC
Charge on anode using 55Fe source and spectroscopy
amplifier
assumes WCF4=34 eV
WCF4=54 eV also appears
in the literature
σE=8%
@720V
55Fe
G. F. Reinking et al, J. Appl. Phys. 60, 499 (1986)
Gas gain is 71,200 ± 1100
A. Sharma, SLAC-JOURNAL-ICFA-16-3, 1998

## Slide 24
CCD
CCD
PMT

## Slide 25
Veto charge readout
J. Lopez et al. NIM A 696, 121-128 (2012)
CREMAT
CR-112
13 mV/pC
75 keVee
α track
60 keVee
e-
Demonstrated reduction of 17x for
40 keVee < E < 200 keVee 137Cs dataset using veto only
R&D
Data
R&D
Data
Anode
Veto

## Slide 26
CCD
CCD
PMT

## Slide 27
Mesh Fast Readout
19F
e-s
n
avalanche
e-s
ions
electrons collected quickly (ns)
ions
avalanche ions take longer (μs)
because of CF4 ion mobility
Time
ns
μs
Current
ions
e-
ΔZ
Rise time of e- current
pulse depends on track ΔZ

## Slide 28
Route2Electronics
HS-AMP-CF
DC-350 MHz
80x Gain
Voltage
Mesh Fast Readout (Δz)
241Am α
Δz
Larger Δz yields a
longer rise time
J. Lopez et al. NIM A 696, 121-128 (2012)
115 keVee
R&D
Data
R&D
Data
cathode
Δz, estimated from 2D 241Am range in CCD (mm)
25%
Rise Time
75% Rise Time

## Slide 29
Mesh Fast Readout
γ
Time
μs
Current
Rise time of e- current pulse
much wider in time for γ’s
ΔZ
e-
γ energy deposition much less spatially localized
More likely to deposit energy in veto

## Slide 30
PID with Mesh Readout
The last
75 keVee of
an 241Am α
137Cs γ
60 keVee
Demonstrated rejection of Cs-137 γ’s
between 40 keVee < E < 200 keVee of
105 (90% CL upper-limit) using
CCD+veto+mesh
R&D
Data
R&D
Data
R&D
Data
J. Lopez et al. NIM A 696, 121-128 (2012)

## Slide 31
PID in the 4-shooter
γ’s
252Cf nuclear recoils
252Cf
neutron
γ
We hope to demonstrate even greater γ-NR rejection power in the 4-shooter

## Slide 32
Outline
Introduction
Directional Sensitivity Measurements
  High gain 252Cf neutron study
  Low gain & pressure AmBe neutron study
  Directionality with alpha tails
Future plans
Surface Commissioning of the DMTPC 4-Shooter Directional Dark Matter Detector
Directional detection
The DMTPC collaboration
The 4-shooter detector
High gain 252Cf neutron study
Low gain & pressure AmBe neutron study
Directionality with alpha tails
Future WIPP deployment

## Slide 33
How well can we measure Head-Tail?
… for low energy nuclear recoils like those expected to be
generated in WIMP scatters?
Strategy: place neutron source at 2 positions in lab and quantify ability to measure Head-Tail at energies low enough to be interesting for a dark matter search.
n
n
Φ

## Slide 34
252Cf calibration
Good range vs. energy
Agreement with SRIM
4-Shooter
Beam profile evident in
found track positions
PRELIMINARY
2D
intensity
VS
position
252Cf source
position #1
252Cf source
position #2

## Slide 35
194 keVee
359 keVee
251 keVee
67 keVee
292 keVee
150 keVee
177 keVee
303 keVee
174 keVee
153 keVee

## Slide 36
75 Torr
CF4
The Raether Limit
At very high gain, all tracks have large transverse widths.
The Raether Limit avalanches containing ~107 electron-ion pairs leads to a discharge
252Cf neutrons
sparking induced by low z-tracks
A. Bressan et al., NIMA 424 (1999) 321-342
241Am Bragg peaks
(px)

## Slide 37
AmBe neutron study
Lower activity than
The 252Cf source
-5 kV drift
670V anode
lower gas gain
1,864,000 images
3,363,398 charge triggers
8,591 NR candidates
Assessment of Head-Tail
sensitivity for low energy recoils
in progress
60 Torr

## Slide 38
374 ADU
482 ADU
573 ADU
763 ADU
1011 ADU
868 ADU
840 ADU
809 ADU
1144 ADU
1273 ADU
1354 ADU
7131 ADU

## Slide 39
241Am
α
Low energy alpha-ends
Very similar to low energy C and F
recoils
Caveat Emptor(s):
1) They must drift
the full field cage,
so these tracks
undergo a lot of
diffusion.
2) He ions have
a much larger expected range than C or F ions since range goes like Z-2.

## Slide 40
16 mV
17 mV
21 mV
31 mV
37 mV
46 mV
56 mV
56 mV
107 mV
148 mV
55 mV
27 mV

## Slide 41
Low energy alpha-end head-tail
60% correct at 35 mV. 10° axial angular resolution above 35 mV.

## Slide 42
Outline
Introduction
Directional Sensitivity Measurements
Future plans
  WIPP deployment
Surface Commissioning of the DMTPC 4-Shooter Directional Dark Matter Detector
Directional detection
The DMTPC collaboration
The 4-shooter detector
High gain 252Cf neutron study
Low gain & pressure AmBe neutron study
Directionality with alpha tails
Future WIPP deployment

## Slide 43
WIPP
Waste Isolation Pilot Plant
Carlsbad, NM
1.6 km.w.e.
Funded by
NSF & DoE
to build a m3
detector

## Slide 44
WIPP
Waste Isolation Pilot Plant
Carlsbad, NM
1.6 km.w.e.
DRIFT IId (2011)
COUPP (2011)
PICASSO (2010)
SIMPLE (2011)
DMTPC 10L, 1 yr, 50 keV threshold
DMTPC m3, 1 yr, 50 keV threshold
sensitivity
COUPP
Year
SIMPLE
XENON10
PICASSO
NAIAD
aa
aa
DRIFT IId sensitivity estimate
DMTPC
4SH
DMTPC
m3
DMTPC 4SH U/G
DMTPC m3 U/G